## Thoothukudi_11_07_2024
Customer: | RBA
Project : | 2MW
Location: | Thoothukudi
|  | Plant-1 (LNGSE 1MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 1MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 6
|  | Plant-2 (SBM 1MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 1MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 5
|  | Plant-3 (KAS-1 2MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 2MW | 1
|  | 2 | Energy Meter | Secure meter |  | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 9
|  | Plant-4 (KAS_2 2MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 2MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 8
|  | Plant-5 (KAS_3 2MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 1MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 9
|  | Plant-6 (SDM 1MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 1MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 4
|  | Plant-7 (ENCEE 1MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 1MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 5
|  | Plant-8 (VPML 2MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 2MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 10
|  | Plant-9 (NISWIN ENTERPRISES 1MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 1MW | 5
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | Plant-10 (SHANTHI FEEDS PVT_LTD 2MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | SUNGROW | SUNGROW_320HX | 2MW | 10
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | Plant-11 (MDP 1MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | SUNGROW | SUNGROW_320HX | 1MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 5
|  | Plant-12 (TMS 1MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 1MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 6
|  | Plant-13 (BESTITCH 1MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 1MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 4
|  | Plant-14 (LOVELY 1MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 1MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 4
|  | Plant-15 (Rudhrans Power 1MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Deatils | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 1MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 4
|  | Plant-16 (SDM-2 1MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Deatils | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 1MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 4

## Trichy_11_07_2024
Customer: | RBA
Project : | 10MW
Location: | Trichy
|  | Plant-1 (Natura power 2MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 2MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 8
|  | Plant-2 (Bestich 1MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 1MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 4
|  | Plant-3 (Selam Sri Krishna construction Co Pvt Ltd 1MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 1MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 4
|  | Plant-4 (Sheela Clinic 1MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | SUNGROW | SUNGROW_3125HV | 290kW | 4
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | Plant-5 (manchunadha 3MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 3MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 12
|  | Plant-6 (Century 2MW) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data) | Plant Information (Technical Data)
|  | Sl No | Device | Make | Model | DC Capacity/Details | Quantity
|  | 1 | INVERTER | ABB | ABB_PVS-980-58-2091kVA-L | 2MW | 1
|  | 2 | Energy Meter | Secure meter | Secure 440 | - | 1
|  | 3 | SMB | Sky power | Kernal card | - | 8